## Sheet1
Load ID | Load Name | Power (kW) | Voltage (V) | Phases | Load Type | Power Factor | Efficiency | Source Bus | Priority
L001 | Motor Pump | 15.5 | 400 | 3 | motor | 0.85 | 0.92 | B001 | essential
L002 | HVAC Unit | 25 | 400 | 3 | hvac | 0.8 | 0.88 | B001 | critical
L003 | Lighting Panel | 8.2 | 230 | 1 | lighting | 0.9 | 0.95 | B002 | non-essential
L004 | Control Cabinet | 5.5 | 230 | 1 | general | 0.85 | 0.9 | B002 | essential
L005 | Conveyor Motor | 11 | 400 | 3 | motor | 0.85 | 0.91 | B001 | essential